## Slide 1: Gravitational Waves: Experimental Techniques
Gabriele Vajente
LIGO Laboratory – California Institute of Technology
TRISEP 2018 - Perimeter Institute
2

## Slide 2: Outline
Lecture 1: the basics of interferometric detection of gravitational waves
Lecture 2: fundamental noise sources (seismic, thermal and quantum noises)
Lecture 3: the dirty reality of ”technical noises” (scattered light, control noise, etc…) and prospects for the future

## Slide 3: Fundamental Noise sources
Lecture 2

## Slide 4: Advanced LIGO design

## Slide 5: Seismic (-related) noise

## Slide 6: Seismic noise
Ground motion is way too large!
x
y
z

## Slide 7: Passive isolation

## Slide 8: Passive isolation
L = 1 m
f0 = 0.5 Hz

## Slide 9: Advanced LIGO: quadruple suspension

## Slide 10: Advanced LIGO: quadruple suspension
S M Aston et al 2012 Class. Quantum Grav. 29 235004

## Slide 11: But…

## Slide 12: Active isolation
F Matichard et al 2015 Class. Quantum Grav. 32 185003

## Slide 13: Active isolation
F Matichard et al 2015 Class. Quantum Grav. 32 185003

## Slide 14: Control systems and sensor noise

## Slide 15: Control systems and sensor noise

## Slide 16: Active isolation
F Matichard et al 2015 Class. Quantum Grav. 32 185003

## Slide 17: Active isolation

## Slide 18: Advanced Virgo: Superattenuator

## Slide 19: Inverted pendulum

## Slide 20: Inverted pendulum
Review of Scientific Instruments 70, 2507 (1999); doi: 10.1063/1.1149783

## Slide 21: Advanced Virgo: Superattenuator
Review of Scientific Instruments 72, 3643 (2001); doi: 10.1063/1.1392338

## Slide 22: Newtonian noise

## Slide 23: Newtonian noise

## Slide 24: Thermal noise

## Slide 25: Thermal noise
All physical objects are in thermal contact with the environment: thermal equilibrium
Two aspect of the same microscopic physics:
  Friction: the system loses energy that goes into heat dissipated to the environment
  Thermal noise: the environment couples back energy into the system

## Slide 26: Friction

## Slide 27: Friction

## Slide 28: Friction
Work done by the external force:

## Slide 29: Friction
Work done by the external force:

## Slide 30: Thermal motion
Langevin’s equation

## Slide 31: Thermal motion
Langevin’s equation

## Slide 32: Thermal motion
Langevin’s equation (for a simple harmonic oscillator)

## Slide 33: Thermal motion
Langevin’s equation

## Slide 34: Thermal noise in a pendulum

## Slide 35: Fluctuation dissipation theorem

## Slide 36: Fluctuation dissipation theorem
Displacement noise
of the suspended mass
Thermodynamics
Mechanics: response of the system to external disturbance

## Slide 37: Structural damping
Viscous damping:

## Slide 38: Structural damping
Viscous damping:

## Slide 39: Structural damping

## Slide 40: Structural vs Viscous

## Slide 41: Sources of thermal noise

## Slide 42: Sources of thermal noise

## Slide 43: Coatings
Fresnel reflection

## Slide 44: Coatings
Fresnel reflection

## Slide 45: Coatings
Fresnel reflection

## Slide 46: Coatings

## Slide 47: Multi layer coatings
Silica
Titania-doped-Tantala*
Silica
Titania-doped-Tantala*
Silica
Titania-doped-Tantala*
Substrate
Material | Refractive index | Loss angle
Silica SiO2 | 1.45 | 0.4 x 10-4
Tantala Ta2O5 | 2.03 | 3.4 x 10-4
Titania-doped tantala Ta2O5-TiO2 | 2.07 | 2.3 x 10-4
Interference of Fresnel reflections

## Slide 48: Thermal noise in coatings
We measure the surface motion of the mirror, monitoring the phase of the reflected beam
  We average over a large surface, determined by the beam Gaussian distribution (radius ~5-6 cm)
  The phase changes due to
    Surface displacement (Brownian noise)
    Change in the material and layer properties: thermal expansion, change of refractive index with temperature (Thermo-optic noise)

## Slide 50: Coatings Brownian noise
Silica
Titania-doped-Tantala*
Silica
Titania-doped-Tantala*
Silica
Titania-doped-Tantala*
Substrate

## Slide 51: Quantum noise

## Slide 52: Shot noise again
Quantum nature of light: photons
Measuring power = measuring the number of photons
  Poisson statistics
This is simplified description, useful only in very simple cases
What is a good quantum description?

## Slide 53: Shot noise again
Quantum nature of light: photons
Measuring power = measuring the number of photons
  Poisson statistics
This is simplified description, useful only in very simple cases
What is a good quantum description?

## Slide 54: Radiation pressure
Photons carry momentum: a laser beam exerts a force on a mirror

## Slide 55: Radiation pressure
Photons carry momentum: a laser beam exerts a force on a mirror

## Slide 56: Quantum description
Electromagnetic field in the Heisenberg picture
PHYSICAL REVIEW D, VOLUME 64, 042006

## Slide 57: Quantum description
Electromagnetic field in the Heisenberg picture
PHYSICAL REVIEW D, VOLUME 64, 042006

## Slide 58: Quantum description
Quantum:
Classical:
Quantum:
Classical:

## Slide 59: Quantum Description
Commutation relations
We can treat the two quadrature as classical variable when propagating them
But when we measure them (simultaneously, using a photodiode) we need to take into account the quantum commutation relations > Heisenberg uncertainty > quantum noise

## Slide 60: Quantum states
Vacuum state:
Time domain representation of the electric field measurement:
Living Rev. Relativity, 15, (2012), 5

## Slide 61: Quantum states
Coherent states: that’s what a laser would produce

## Slide 62: How vacuum enters in the interferometer

## Slide 63: Radiation pressure induces correlations

## Slide 64: Radiation pressure induces correlations

## Slide 65: Phase rotation

## Slide 66: Squeezed states

## Slide 67: Squeezed vacuum for an interferometer

## Slide 68: How to generate squeezed states

## Slide 69: How to generate squeezed states
arXiv:1206.2527 [quant-ph]

## Slide 70: How to generate squeezed states
arXiv:1206.2527 [quant-ph]

## Slide 71: Non linear Optical Parametric Amplifier
arXiv:1206.2527v3 [quant-ph]

## Slide 72: Squeezing for real: GEO 600
Phys.Rev.Lett. 110 (2013) no.18, 181101

## Slide 73: Squeezing for real: GEO 600
Phys.Rev.Lett. 110 (2013) no.18, 181101

## Slide 74: Squeezing for real: eLIGO
Nature Photonics volume 7, pages 613–619 (2013)

## Slide 75: Next time…
Gabriele Vajente
LIGO Laboratory California Institute of Technology
1200 E. California Blvd.
Pasadena (CA) 91125 – USA
vajente@caltech.edu